## Slide 1
D. Attié
CEA Saclay/Irfu
RD51 – ALICE Workshop
June 18th, 2014
ILC-TPC Micromegas:
Ion Backflow Measurements
Notes: I’m here to present a TPC review

## Slide 2: Outline
Operational conditions in ILD-TPC for ILC
Ion Backflow in Micromegas detectors
Ion Backflow (IBF) Measurements
  Principle
  IBF vs. Micromegas Grid Geometry and Fields
  IBF in bulk Micromegas
Ion Backflow solution

## Slide 3: Operational Conditions in ILD-TPC for ILC
T2K gas: Ar/CF4/iso-C4H10 95/3/2
Drift field: Edrift = 230 V/cm (Vdrift = 7.5 cm/µs)
Bulk Micromegas:
Gas gain: 2000-4000 (380-400V)
Eamplification/Edrift=EA/ED=130-135
IBF requirement: < 1% (for margin <0.1%)
Chart: Vmesh (V)
| 300 | 310 | 320 | 330 | 340 | 350 | 360 | 370 | 380 | 390 | 400 | 411 | 420 | 430 | 440 | 450 | 455
Après Viellissement | 160.2945 | 215.781 | 311.9577 | 447.5915 | 626.3815 | 896.416 | 1260.1612 | 1787.8999 | 2575.809 | 3491.9536 | 5006.1199 | 7768.117 | 10690.4086 | 16103.4299 | 24229.1269 | 39210.4954 | 48828.1641
Edrift=230 V/cm
  amplification gap: 128 µm
  hole pitch: 63 µm (400 lpi)

## Slide 4: Micromegas: Intrinsic Suppresion of Ion Backflow
S1
Electrons are swallowed in the funnel, then make their avalanche, which is spread by diffusion
The positive ions flow back with negligible diffusion (due to their high mass)
If the pitch hole is comparable to the avalanche size, only the fraction ~ S2/S1 = EDRIFT/EAMPLIFICATION drift back to the drift space. Others are neutralized on the mesh: optimally, the backflow fraction is as low as the field ratio
This has been experimentally thoroughly verified
ED
EA
S2

## Slide 5: Ion Backflow with Micromegas: Measurement Principle
The ion backflow fraction is given by:
Determination of the primary ionisation from the drift current at low Vmesh
Using equation (1) & (2) G is eliminated  IBF
Vmesh
Vdrift
I2 (mesh)
I1 (drift)
X-ray gun
(1) primaries+IBF
(2) I1+I2 ~ G × primaries

## Slide 6: Ion Backflow with Micromegas: Measurement Results
P. Colas et al., NIMA535(2004)226
Ar-CH4 97-3
EA/ED
1%
1%
5%
MWPC-TPC: IBF~30%
The ions backflow depends on avalanche spread (transverse diffusion) but cannot be smaller than the field ratio
The absence of effect of the magnetic field on the ion backflow suppression has been tested up to 2T
For a EA/ED ~100, IBF~1-5% depending on geometry (hole pitch)

## Slide 7: Ion Backflow with Micromegas: Simulation
0.75
0.5
0.25
500 LPI
1000 LPI
1500 LPI
Mesh
t/p
Theoritical model
2D
3D
Sum of gaussian diffusions
l
Periodical structure
IBF calculation:

## Slide 8: Ion Backflow with Micromegas: Simulation
Chart: t/pitch
| 0.25 | 0.3 | 0.4 | 0.5 | 0.75
Field ratio | 0.1 | 0.1 | 0.1 | 0.1 | 0.1
Feedback 2D | 0.16 | 0.134 | 0.109 | 0.101 | 0.1
Feedback 3D | 0.25 | 0.179 | 0.118 | 0.103 | 0.1

## Slide 9: Grid Geometry and Fields
20 µm hole pitch
32 µm hole pitch
45 µm hole pitch
58 µm hole pitch
Ingrid sample
  p = hole pitch
  = transverse diffusion = Dt (Dt: transverse coefficient)
  FR =

## Slide 10: Grid Geometry and Fields
Gap (µm) | Hole pitch p (µm) | Hole d (µm) | σt /p
45 | 20 | 12 | 0.47
 | 32 | 23 | 0.30
 | 45 | 32 | 0.21
 | 58 | 21 | 0.16
58 | 20 | 9 | 0.58
 | 32 | 15 | 0.36
 | 45 | 34 | 0.26
 | 58 | 22 | 0.20
70 | 32 | 18 | 0.43
 | 45 | 32 | 0.30
 | 58 | 22 | 0.24
Fit using:
with y~1
45 µm gap
58 µm gap
70 µm gap
M. Chefdeville, PhD Thesis (2009)
EA/ED
EA/ED
EA/ED

## Slide 11: Ion Backflow in Bulk Micromegas
Micromegas for LC-TPC:
  (resistive) bulk technology
  128 µm gap
  woven mesh with pillars
  45 µm hole /18 µm wire 
  400 LPI
W. Wang, PhD Thesis (2013)

## Slide 12: Ion Backflow in Bulk Micromegas
Bhattacharya et al. JINST 9 C04037 (2014)

## Slide 13: Possible Solution without Gating Grid
Micromegas with offset metal meshes (5 µm cooper):
Open questions:
- never used in TPC
- effect of magnetic field?
- large area?
F. Jeanneau et al., NIMA623(2010)94
10-5
50 m

## Slide 14: Summary & Outlook
Micromegas: natural ion backflow suppression
  EA/ED~100  IBF~ 1-2%
  EA/ED~1000  IBF~ 0.1-0.2%
For margin, grid geometry has to be optimized and/or a gating grid will be used
Inside RD51, R&D on thin grid is in progress

## Slide 15: Backup Slides

## Slide 16: Ions Mobility in Gases
Mobility: ratio of velocity and field
(NTP: 300K, 760 mmHg)
Ar-CH4, E=1kV/cm
 =1.8 µm/s
S. C. Brown Basic Data in Plasma Physics (Wiley, New York 1959)
Gas | Ion | µ+ (cm²s-1V-1)
He | He+ | 10.2
Ar | Ar+ | 1.7
CH4 | CH4+ | 2.26
Ar-CH4 | CH4+ | 1.87
CO2 | CO2+ | 1.09

## Slide 17: Positive Ion Feedback
-V
0
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
+
MWPC
DRIFT
-V
0
L: drift length
M: gain
: fractional ion feedback
EXAMPLE: ALEPH TPC
R=2.106 s-1 m-3 w+=1.5 m s-1
M=104 =10-1
M=103 : ion feedback per primary electron
E=104 V m-1
A fraction of the positive ions produced in the avalanches slowly drift in the sensitive volume and modify the electric field:
Ar-CH4 80-20 E=200 V/cm w+ ~ 320 cm/s
For 1 m drift T+ = 300 ms
For uniform irradiation releasing R electrons per second per cubic meter, the positive ion charge density is given by:
W. Blum, W.Riegler and L. Rolandi
Particle Detection with Drift Chambers (Springer 2008)