## Slide 1
MPGD2009, Kolymbari, Crete, Greece
MPGD2011, Kobe, Japan,
Spherical detector
MPGD2013, Saragoza, Spain
Gaseous detectors: current and future developments
I. Giomataris CEA-Saclay
MPGD2015, Trieste, Italy
Drift cathode
~ 1 kV/cm
mms or cms
Charged particle
Grid
Anode
T2K
ATLAS
Notes: 1

## Slide 2
Some experiments using
Micromegas read-out
ATLAS-SLHC
CLAS12G
HCAL
T2K
ILC/TPC
Michigan TPC
HARPO
ACTAR TPC
MINOS
COMPASS Hybrid MM
Timepix Ingrid
B4C multi-layer detectors
Laser MJ (CESTA
Astro-gamma
MiMaC

## Slide 3
T2K Micromegas TPC – Bulk technology
3xTPCs, 6 end plates, 72 Micromegas
First neutrino event
Next upgrade under under study:
A high pressure TPC

## Slide 4
ATLAS Resistive strip technology
Joerg Wotschack, Mod.Phys.Lett. A28 (2013) 1340020
T. Alexopoulos, et al. Nucl. Instrum. Meth. A 640, 110-118, (2011).
Industrialization is going on
through ELVIA, ELTOS
Construction of large chambers in ATLAS
Goal : 1200 m2 total detector surface
SM1 module
At Saclay the large clean room is ready and operational
First M0 module is under construction and soon will be tested
LM2 – CERN / Dubna -Thessaloniki
SM2 – Germany

## Slide 5
  2nd fabrication technology Micro-Bulk
Very good energy resolution
11% at 5.9 keV
5.5% at 22 keV
< 1% with Am alpha source
50 m and 25 m gaps fabricated
Other advantages
Flexible structure (cylinder)
Good uniformity
Low material
Low radioactivity
Type1
Type2
Micromegas
inside
Xe @ 2 bar
Neutrinoless Double Beta (0nbb) using 136Xe
Under study by PANDA-X DBD project
CEA-CERN patent
Notes: 5

## Slide 6
Micromegas micro-bulk in CAST
  Evolution of Micromegas
  CAST background
International Axion Observatory (IAXO)
8 coil magnet L= 20 m
8 bores: 600 mm diameter each
8 X-rays optic + 8 detection systems
Rotating platform with services
Axion search exclusion plots

## Slide 7
ILC TPC project - Large International collaboration
G. Aarons et al., arXiv:0709.1893, M. S. Dixit et al., NIMA 518 (2004) 521, M. Kobayashi et al.,NIMA581(2007)265,
~ 40 m average!!
Pad size 2x6 mm
ILC TPC prototype
with Micromegas
ILC TPC with Micromegas,
L = 4.6 m, D = 3.4 m
Event in DESY test beam
Ion feed back supression
Momentum resolution=5x10-5
No ExB effect
TPC Micromegas advantages
Ion suppression .1%
No ExB effect
Great resolution ~ 40 m
Good energy resolution

## Slide 8
I. Giomataris
Medipix2
surface: 1.4 x 1.6 cm2
Matrix of 256 x 256
pixel size: 55 x 55 µm2
P. Colas et al., NIMA535(2004)506
InGrid technology
M. Cambell et al, NIMA540(2005)295
M. Chefdeville et al., NIMA556(2006)490
Nikhef, Saclay, Bonn collaboration
Industrialization by Bonn is going on
Micromegas + micro-pixels
Great resolution
Single electron counting!!
Gas On Slimmed SIlicon Pixels (GOSSIP)
Under study for ATLAS SLHC tracker

## Slide 9
Muon tomography using Micromegas detector
D. Attie, S. Bouteille, S. Procureur et al.
ScanPyramids Mission
Mcube
Multiplexing
‘Chateau d’eau’ at Saclay

## Slide 10
Caliste
X-ray polarimeter using MM ‘Piggyback’ and Caliste
P. Serrano, E. Ferrer, O. Limousin
He+ 20% CO2 1 BAR
Promising prospects to measure X-rays polarisation
Φ
θ

## Slide 11
I. Giomataris
26 septembre 2016
I. Giomataris
Recoil from 144 keV neutrons
Micromegas:µTPC chamber
Quenching factor measurement
Direct QF evaluation
D. Santos et al., [arXiv:0810.1137]
1.5 keV ion
1.49 keV electron
proton 8 keV, He + 5% iC4H10, 350 mbar
40 keV 19F, 70 % CF4 + 30% CHF3 , 55 mbar
6 keV electrons in He + 5% iC4H10 350 mbar
MIMAC-He3 MIcro-tpc Matrix of Chambers of He3
WIMP directional TPC, Micromegas read-out,
Grenoble – Saclay, Cadarache collaboration
C. Grignon et al., JINST 4 (2009) P11003
QF at various pressures in He-4

## Slide 12
Applications in neutron detection
neutron tomography
Micromégas Concept for Laser MégaJoule and ICF Facilities
M. Houry et al., NIM,557(2006)648
DT SHOT, 31769; 4.1013 n14MeV
Time (ns)
Signal (mV)
DD SHOT, 31777; 2.1011 n2.45MeV
Time (ns)
T0
{
Piccolo Micromegas, Nuclear reactor in-core neutron measurement
J. Pancin et al., NIMA, 592(2008)104
2D image
n-TOF MicroMegas-based neutron
transparent flux monitor and profiler
F. Belloni et al.,, Mod.Phys.Lett. A28 (2013) 1340023

## Slide 13
First tets in
IRAMIS facility @ CEA Saclay (thanks to Thomas Gustavsson! )
UV laser with σt ~ 100 fs
λ = 275-285 nm after doubling
Cividec 2 GHz preamplifier
DAQ through Lecroy Osciloscope
Single electron distribution
Fist encouraging laser results
20 ps resolution
Fast timing Picosecond Micromegas
CEA-Saclay, CERN, Thessaloniki, Athens, Princeton

## Slide 14: CERN-SPS recent measurements
Resolution 34 ps
Resolution 45 ps
Future plans and improvements
Improve analysis and include tracking information
Improve photocathode quality
Further improve detector, mesh and accuracy
Optimize gas mixture
Radiation hardness
High rate protection

## Slide 15
Towards ultra-low capacitance MM
Spark protection
Preserves fast electron signal
First protoype was fabricated using microbulk kapton etching
Results are encouraging: high gain, good energy resolution, Capacitance x3 lower
Future improvements
The idea has been successfully tested
Th. Geralis et al.,PoS TIPP2014 (2014) 055
Anode strip element
Combine with anode mesh
segmentation to reduce capacitance
Pad read-out
Move pad read-out back by 1-2 mm
To further reduce capacitance
Ultimate goal
Read-out pad or strip capacitance <1 pF
Charge released by spark < 109 electrons
To reach the goal we need new high-precision fabrication technology

## Slide 16
High gas pressure detector deal
The gain variation exhibits a minimum for :
d = V/Bp
Ref: Y. Giomataris, NIM A419, p239 (1998)
E1
E2
E1> E2
Message
For high pressure operation up to 10 bar
We need a small 10-30 mm gap
The idea of small gap MM was tested D. Attie et al., JINST 9 (2014) C04013
Gaps of 12.5, 25, 50 mm have been fabricated and successfully tested
From this study we concluded that the highest achievable gain was lower with smaller gaps
To improve gain we need to fabricate much smaller mesh holes, smaller than gap length
of the order of 5- 10 mm
To reach the goal we need new high-precision fabrication technology
Ideal gap

## Slide 17
High precision 3D printer technology
On our table
Wire bonds
Ni shim

## Slide 18
Second part
Spherical detector, light-dark matter search
and neutrino physics

## Slide 19
Radial TPC with spherical proportional counter read-out
Saclay-Thessaloniki-Saragoza
5.9 keV 55Fe signal
E=A/R2
20 s
Simple and cheap
Large volume
single read-out
Robustness
Good energy resolution
Low energy threshold
Efficient fiducial cut
Low background capability
1-15 mm
A Novel large-volume Spherical Detector with Proportional Amplification read-out, I. Giomataris et al., JINST 3:P09007,2008
C≈ Rin= 7.5 mm < 1pF

## Slide 20
26/09/2016
I. Giomataris
Rejection power

## Slide 21
Low-energy calibration source Argon-37
Home made Ar-37 source: irradiating Ca-40 powder with fast neutrons 7x106neutrons/s
Irradiation time 14 days. Ar-37 emits K(2.6 keV) and L(260 eV) X-rays (35 d decay time)
Argon 37
First measurement
with Ar-37 source
Total rate 40 hz
in 250 mbar gas, 8 mm ball
240 eV peak clearly seen
A key result for light dark matter search
5.9.keV
2.4 keV
260 eV
Installation near the spherical detector

## Slide 22
Low background detector d=60 cm p=10 bar
University of Saragoza detector
University of Thessaloniki detector
University of Tsinghua - HEP detector
Basic R@D detector in Saclay
Bibliography
I Giomataris et al., JINST 3:P09007,2008.,
I Giomataris and J.D. Vergados, Nucl.Instrum.Meth.A530:330-358,2004, I. Giomataris and J.D. Vergados, Phys.Lett.B634:23-29,2006.
I. Giomataris et al. Nucl.Phys.Proc.Suppl.150:208-213,2006.,
S. Aune et al., AIP Conf.Proc.785:110-118,2005.
J. D. Vergados et al., Phys.Rev.D79:113001,2009.,
E Bougamont et al. arXiv:1010.4132 [physics.ins-det], 2010
G. Gerbier et al.,arXiv:1401.790v1
Queens University test sphere

## Slide 23
NEWS collaboration
Queen’s University Kingston, IRFU/Saclay , LSM, Thessaloniki University, LPSC Grenoble, TU Munich,PNNLTRIUM
Collaboration meeting at LSM april 2016

## Slide 24
80
4
Rate [Hz]
Date [s]
Polyethylene
30 cm
Lead
10 cm
Copper
5 cm
Decrease of factor 20 for
Energy range 1 – 200 keV
NEWS-LSM: Exploration of light dark matter search at LSM
Detector installed at LSM end 2012: 60 cm, Pressure = up to 10 bar
Gas targets: Ne, He, CH4
Effect of the cup

## Slide 25
Internal contamination cleaning
Goal: remove Po-210, Pb-210
Conditions :
Nitric acid (30 %)
Temperature 30° C
Cleaning by spray
Washing by pure water
Drying by hot nitrogen
2nd chemical cleaning of sphere
Conditions :
Nitric acid (17 %)
Temperature 10° C
Cleaning by filling
the spherical cavity
Washing by pure water
Drying by hot nitrogen
1st chemical cleaning of sphere

## Slide 26
β/γ rate evolution
Reduction factor = 20
400 mHz => 20 mHz
Chart: mHz
| 41153 | 41183 | 41244 | 41275 | 41365 | 41456 | 41579 | 41730 | 41760
 | 135 | 130 | 65 | 60 | 40 | 10 | 5.5 | 4.5
1st chemical cleaning
2nd chemical cleaning
Sensor cleaning
Chart: mHz
| 41153 | 41183 | 41244 | 41365 | 41426 | 41487 | 41579 | 41730 | 41760
 | 450 | 400 | 300 | 300 | 200 | 100 | 57 | 27 | 20
1st chemical cleaning
2nd chemical cleaning
Sensor cleaning
Copper shielding added
Alpha rate evolution
β/γ rate
α rate
Backround evolution of the detector
Reduction factor = 90
180 mHz => 2 mHz
New development
Removal of about 10mm copper using a high pressure jet
is under study with a french compagny

## Slide 27
Summary:
background level among the best experiments
Achieved with modest budget and manpower
Combined with the low energy threshold and low-Z targets:
Competitive sensitivity for very-light WIMPs
Publication under preparation
With additional shield
Reduction
Light WIMP search results
Energy spectrum [eV] at low energy
300 – 1300 eV
18 Évén./jour/keV/kg
30.5 days
3 bars Ne + CH4 (0.7%)
Fast on line analysis

## Slide 28: NEWS-SNO with compact shield : implementation at SNOLAB by fall 2017
DEAP
Miniclean
NEWS
140 cm Ø detector, 10 bars, Ne, He, CH4
Copper 1 mBq/kg
Compact lead –ancient- & PE shield solution
Lead shield
Copper sphere
PE shield

## Slide 29
NEWS-SNOLAB project:
Funded by Canadian grant of excellence
and ANR-France
DAMA
LUX
Xenon
DarkSide50-Ar
CDMS-Edelweiss
CDMS reanalysis
Edelweiss LE
CDMSLite2
CRESSTII
CRESST
DAMIC
COGeNT
CDMS_Si
CDMSLite1
NEWS-SNOLAB
H
He
Ne
2017

## Slide 30
Quenching factor measurements
Goal: measure QF down to 500 eV ion energy using the Grenoble MIMAC facility
for H, He, Ne, CF4, Ar, Xe at various pressures
Earlier measurements
D. Santos et al., arXiv:0810.1137
He-4 700 mbar
Previous investigations with a 15 cm sphere
show the capability to measure 500 eV He-4 ions
with an estimated QF of about 25%
Saclay, Grenoble, Thessaloniki, Queen’s-Kingston

## Slide 31
CUBIC: a new way of fabricating an ultra low-background spherical detector – under study
  I. Giomataris, CEA-Irfu-France
Aurubis pure copper
Tested in PNLL
mBq/kg : 232Th= 1, 238U= 1
70 cm
milling
10
10
50
50
10
moulding
Advantages
Auto-shield
Pressure up to 50 bar
Low cost
Faster process

## Slide 32
Multi-ball ‘ACHINOS’ structure
Developed in Saclay in collaboration with University of Thessaloniki
Advantages
- Amplification tuned by the ball size:
1mm diameter for high pressure
-Volume electric field tuned by the size
of the ACHINOS structure
- Detector segmentation

## Slide 33
n + N --> n +N s ≈ N2E 2, D. Z. Freedman, Phys. Rev.D,9(1389)1974
Additional physics
Neutrino-nucleus coherent elastic scattering
High cross section but very-low nuclear recoil
Illustration: using the present prototype at 10 m from the reactor, after 1 day run
A dedicated Supernova detector
Simple and cost effective - Life time >> 1 century
Through neutrino-nucleus coherent elastic scattering
Y. Giomataris, J. D. Vergados, Phys.Lett.B634:23-29,2006
Sensitivity for galactic explosion
For p=10 Atm, R=2m, D=10 kpc, Uν =0.5x1053 ergs
# Number of events (after quenching, Eth =0.25 keV)
He Ne Ar Kr Xe Xe (with Nuc. F.F)
0.08 1.5 6.7 23.8 68.1 51.8
Idea : A world wide network of several of such dedicated Supernova detectors
To be managed by an international scientific consortium and operated by students

## Slide 34
Competitive double beta decay experiment with Xe-136 at 50bar
In collaboration with CNBG ( F. Piquemal et al.,), CPPM (J. Busto et al.,)
The goal is to reach a record low background level << 10-4/keV/Kg/y
and an energy resolution of .3%
Simulation model
By J. Galan
Sphere diameter: 2 m
Shield 30 cm copper
Xenon gas at 50 bar (1272 Kg)
Vessel Copper activity mBq/kg :
Aurubis commercial 232Th= 1, 238U= 1
PNNL 232Th=.034, 238U=.13
Results are very encouraging:
Expected background rate in the region of Qbb (2.46 MeV)
8.x10-5/keV/Kg/ year Arubis copper
1.54x10-5/keV/Kg/ year PNNL copper
(compared to 2x10-3/keV/Kg/ year of running experiments)

## Slide 35
If additional rejection is required: a new idea
Background free double beta decay experiment, I. Giomataris, J.Phys.Conf.Ser. 309 (2011) 012010
The idea is to detect Cherenkov light emitted by two electrons and then reject background
from single electrons (Compton scattering etc..)
Xenon-136 at high pressure of about 25-40 bar is ideal to keep high efficiency for double electrons,
Good enough electron path and reduce multiple scattering
A simple read-out is the standard spherical detector signal combined with
CsI photocathode layer deposited at the internal vessel surface, inducing a delayed signal
S2 (S1) is the charge signal collected and amplified
S3 is the delayed Cherenkov light signal
UV QE CsI

## Slide 36
THANK YOU
8th SYMPOSIUM ON LARGE TPCs FOR LOW-ENERGY RARE EVENT DETECTION
The eighth international symposium on “large TPCs for low-energy rare event detection”
will be held in Paris on the 5th-7th of December 2016.
The purpose of the meeting is an extensive discussion of present and future projects using
a large TPC for low energy, low background detection of rare events
(low-energy neutrinos, double beta decay, dark matter, solar axions).
In addition to the symposium, a half day workshop on neutrino from Supernova will complete
this three-day symposium and will be the closing session just before the summary talk.